## Slide 1: Robot-Assisted Endodontic Treatment
Presenter: Yi-Chan Li
Advisor: Prof. Cheng-Wei Chen
Next-generation Automated Surgical Apparatus Lab
06/15/2021
DentiBot

## Slide 2: Outline
Motivation and Problem Definition
Previous Work
Proposed Method
Experimental Results
Discussion and Conclusion

## Slide 3: Outline
Motivation and Problem Definition
Previous Work
Proposed Method
Experimental Results
Discussion and Conclusion

## Slide 4: Endodontic Treatment
15,178 Dentists
238 Endodontists
Repetitive movements
Opening
Cleaning
Filling

## Slide 5: Challenges
Small
0.1 mm
No real-time image
Instrument fracture
Root canal direction
Notes: https://riverparkdentalct.com/endodontics/

## Slide 6: Problem Statement
1. How to assist dentists in performing “Cleaning” procedure?
2. How to align an unknown root canal direction?
3. How to protect the endodontic file from fracturing?
Notes: \item \item \item

## Slide 7: Outline
Motivation and Problem Definition
Previous Work
Proposed Method
Experimental Results
Discussion and Conclusion

## Slide 8: Endodontic Robot
Dong, J., Hong, S., & Hesselgren, G. (2006). WIP: a study on the development of endodontic micro robot. In Proceedings of the 2006 IJME-INTERTECH Conference.

## Slide 9: Endodontic Robot

## Slide 10: Other Dental Robots

## Slide 11: Other Dental Robots

## Slide 12: Commercial Dental Robot
Yomi Robotic System (Neocis Inc.)
surgical technology that assists dental implant surgery using 3D image of the patient.

## Slide 13: Prospect of DentiBot
1. Move to the infected teeth
2. Root canal searching
3. Repetitive drilling
4. Apex detection
Notes: \item \item \item

## Slide 14: Problem Statement
1. How to assist dentists in performing “Cleaning” procedure?
2. How to align an unknown root canal direction?
3. How to protect the endodontic file from fracturing?
Notes: \item \item \item

## Slide 15: Outline
Motivation and Problem Definition
Previous Work
Proposed Method
Experimental Results
Discussion and Conclusion

## Slide 16: DentiBot
Robot Arm
Modified
Handpiece
F/T Sensor

## Slide 17: System Integration
What problems should we solve?
Robot Arm
Modified Handpiece
F/T Sensor
Gravity compensation
Reference frame changing
Kinematics (Forward, Inverse, and Jacobian)
Coordinate transformation
  Translation Analysis - Tool Center Point
  Rotation Analysis
RTOS
EtherCAT

## Slide 18: Control Scheme
Dragging Mode vs. Self-Alignment Mode
Notes: Dragging mode

## Slide 19: Motion Planning

## Slide 20: Instrument Protection
Two main causes of instrument fracture
1. Cyclic fatigue 70%
2. Torsional stress 30%
Solution:
Torque Sensing from Current Feedback
Driller

## Slide 21: Instrument Protection
Screen shot from https://www.endoruddle.com/

## Slide 22: Outline
Motivation and Problem Definition
Previous Work
Proposed Method
Experimental Results
Discussion and Conclusion

## Slide 23: Video
Notes: \item \item \item

## Slide 24: Outline
Motivation and Problem Definition
Previous Work
Proposed Method
Experimental Results
Discussion and Conclusion

## Slide 25: Main Contribution
Integrate a 6-DoF robotic manipulator with 6-DoF F/T sensor for performing endodontic treatment.
Develop a framework for robot alignment regarding the position and orientation of root canal.
Protect the endodontic file from fracturing by controlling file rotation speed.

## Slide 26: Future Work
Discuss the feature of the endodontic file more deeply.
Patient tracking
Root canal searching
Apex detection

## Slide 27: Thanks for your attention
Q & A

## Slide 28: Preparation